## Slide 1
DXF File
CAD tool to define what to clean
G Code
Convert to ideal G-Code
Calibrate
Align laser to Carousel targets
Adjust
Apply offset and rotation
Clean
Run adjusted G code

## Slide 2: Calibration points
The outer lower corner of each circled pad is used for the calibration adjustment. The ideal position of these points relative the DXF file origin is:
  Left point: -222.959, -22.250 (Section 3 Pad 4)
  Right point: +222.959, -22.250 (Section 1 Pad 13)
  Distance from center 224.066 mm
Y axis
X axis